| Permit date: | / / |  | Work shift: 1st 2nd 3rd | Expires: | / / |
| --- | --- | --- | --- | --- | --- |
| Time started: |  |  |  |  |  |  |  |
| Permit space to be entered (name and location of space): |  |  |  |  |  |  |  |
| Purpose of entry: |  |  |  |  |  |  |  |

Names of trained, authorized individuals

|  |  | Entry supervisor: |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Entry attendant: |  |  |  |  |  |  |  |  |
|  |  | Authorized entrants: |  |  |  |  |  |  |  |  |
|  |  | Authorized entrants: |  |  |  |  |  |  |  |  |
| # Emergency contact information |  |  |  |  |  |  |  |  |
| Emergency responder: |  |  |  |  | Phone number: |  |  |  |
| Contact person: |  |  |  |  |  | Time: |  |  |

| Pre-entry requirements |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Requirements | Yes | No | N/A |  | Requirements |  | Yes | No | N/A |
| Lockout - tagout/de-energize |  |  |  |  | Hot work permit |  |  |  |  |
| Pipes(s) broken or capped or blanked |  |  |  |  | Fall arrest harness/lifeline/tripod |  |  |  |  |
| Purge or flush or drain |  |  |  |  | Personal protective equipment |  |  |  |  |
| Ventilation (natural or mechanical) |  |  |  |  |  | Hardhat |  |  |  |
| Secure area |  |  |  |  |  | Gloves |  |  |  |
| Safe lighting |  |  |  |  |  | Safety glasses |  |  |  |
| Non-sparking tools |  |  |  |  |  | Respirator, type |  |  |  |
| Communication method |  |  |  |  |  | Other PPE: |  |  |  |
| Contractor employees involved |  |  |  |  |  | Other PPE: |  |  |  |

| Space-monitoring results |  | Test 1 | Test 2 | Test 3 | Test 4 |
| --- | --- | --- | --- | --- | --- |
| Monitor at least every four hours | Permissible entry levels | Time: Initial: | Time: Initial: | Time: Initial: | Time: Initial: |
| Percent oxygen | 19.5% to 23.5% |  |  |  |  |
| Combustible gas | Less than 10% LEL |  |  |  |  |
| Other toxic gas |  |  |  |  |  |
| Other toxic gas |  |  |  |  |  |
| Other toxic gas |  |  |  |  |  |

| Possible atmospheric hazards | Yes | No | N/A |
| --- | --- | --- | --- |
| Lack of oxygen |  |  |  |
| Combustible gases |  |  |  |
| Combustible vapors |  |  |  |
| Combustible dusts |  |  |  |
| Toxic gases/vapors |  |  |  |
| Possible non-atmospheric hazards |  |  |  |
| Noise |  |  |  |
| Chemical contact |  |  |  |
| Electrical hazard |  |  |  |
| Mechanical exposure |  |  |  |
| Temperature extreme |  |  |  |
| Engulfment |  |  |  |
| Entrapment |  |  |  |
| Other non-atmospheric hazard |  |  |  |

## Pre-entry checklist

Do not enter this permit space until the following “needs action” conditions are corrected.

| OK | Needs action |  |
| --- | --- | --- |
|  |  | Before entering the permit space, the supervisor or designee must notify the rescue team. IDLH conditions require at least one rescue team member located outside the space. |
|  |  | A minimum of two employees must be assigned to work involving permit space entry. One employee must remain outside the permit space at all times. |
|  |  | The surrounding area must be surveyed to show that it is free of hazards such as drifting vapors from tanks, piping, sewers, or vehicle exhaust. |
|  |  | Those responsible for operation of the gas monitor have been trained. |
|  |  | Gas monitor calibration tests and functional test (fresh air calibration) have been performed this shift on the gas monitor. If so, by whom? |
|  |  | The atmosphere will be continuously monitored while the space is occupied, if required by entry procedure. |

## This permit has been terminated for the following reason:

| Work completed | Canceled | Time: | Note: |
| --- | --- | --- | --- |

| Supervisor’s signature | Time: | Date: / / |
| --- | --- | --- |