#### ENTITY NAME

#### “Standard Operating Procedures for Working with

#### Asbestos Cement Pipe”

- PURPOSE:

ENTITY NAME places the highest value on employee safety. Being consistent in providing a safe and healthy workplace for all employees and to help make fieldwork as safe as possible, the following safe work procedures have been developed for repairing Asbestos-Cement pipe.

These procedures will assist ENTITY NAME to establish itself as a leader in our community and the water industry by providing our employees with training and equipment to protect themselves from hazards and injuries. Once hazards are identified and evaluated, every effort will be made to eliminate or control them through engineering or administrative measures. Good design and engineering practices will be used to eliminate or reduce hazards in the design of facilities and projects. But when hazards cannot be eliminated, Personal Protective Equipment (PPE) will be required.

This policy defines the use of appropriate work practices and PPE necessary to protect employees from hazards associated with working with Asbestos-Cement (AC ) pipe.

All employees – managers, supervisors and staff – are responsible for the success of this policy and will be held accountable for deviations. Both Labor and Management are dedicated to promoting safe work and safe job sites. Any violation of the policy will be subject to progressive disciplinary action, up to and including termination of employment.

- SCOPE:

### Repair work involving disturbing and/or removal, of AC Pipe must follow the outlined safety procedures. This procedure applies to Water Utilities crews and contractors. No methods can be used that intentionally cause AC pipe to shatter, crumble, be pulverized, or release asbestos fibers. This means that we are not permitted to sand, power saw, grind, chip or use power tools on AC pipe.  By following these methods, DEQ asbestos abatement contractor and worker certification are not required.

### RESPONSIBILITIES

- ENTITY NAME will provide support and commitment to furnish affected employees with the appropriate training and equipment to protect themselves from known hazards working with and around AC pipe. Whenever possible, ENTITY NAME will attempt to eliminate hazards of AC pipe by means of engineering controls and design.

- The Safety Staff will provide and document all training and education for employees; and provide Supervisors with assistance and support in the administration and maintenance of the program.

- The Managers and Supervisors will ensure that these procedures are implemented and ensure compliance within their respective departments and crews. They will also ensure that all equipment necessary for AC pipe work is available and in use whenever working with AC pipe.

- The Employee is responsible for following the procedures, including utilizing training and equipment provided. Employees who violate this policy will be subject to disciplinary action.

- Competent Person is capable of identifying existing and predictable hazards in the surroundings or work conditions which are unsanitary, hazardous, or dangerous to employees and has the authority to take prompt corrective measures to eliminate them.

NOTE:  It is important to note that the work practices and conditions describe in the policy must exist and be maintained at all times. If there are any deviations in conditions, practices or procedures outside the scope of the policy, a Competent Person must have a higher level of skills and training as outlined in OSHA’s 1926.1101 Asbestos Standards and the EPAs 40 CFR 763.92

    - TRAINING

- All employees involved in AC pipe work must be Asbestos Awareness Trained (See attached power point presentation) that meets Oregon OSHA Asbestos Standard 1926.110(k)(9(viii).  The training will include this safe work procedure.

- Training will be refreshed at least annually or as needed.

- All training and refresher sessions will be documented. Documentation will be filed with ENTITY NAME Safety File system.

- For the purpose of these Safe Work Practices, the training module attached will be deemed adequate.

    - Safety Procedures:

      - Wet methods will be used to prevent release of airborne asbestos fibers.  This requires use of a garden type sprayer with water to be used prior and during all work in AC pipe.  The pipe exterior will be sprayed down prior to and during removal or repair work.

      - No power tools will be used on AC pipe. Only various approved hand tools will be used.

      - Approved tools:

        - Snap cutters (“squeeze-and pop” equipment) operate by means of cutting wheels mounted in a chair wrapper around the pipe barrel.  Hydraulic pressure, applied by means of a remote, pneumatically, or manually operated pump, squeezes the cutting wheel into the pipe wall unit the cut is made.  This type of cutting with water sprayed minimizes the release of asbestos fibers.

        - Roll cutters that cut the pipe as the cutting edge of the rollers are tightened down as pressure is applied manually to the cutters as they circle the pipe.  This type of cutting with water sprayed on the pipe minimizes the release of any asbestos fibers.  Cutting wheels are wiped before use to remove any lubricant that might bond with any fibers and wiped cleaned after use.

        - Wet Tapping AC Pressure Pipe for service connects is performed in the trench while the pipe is under pressure. The equipment is affixed to the pipe by means of a chain yoke.  A combination boring-and-inserting bar drills and taps the pipe wall and inserts a corporation stop or pipe plug.  The pressure chamber, which protects against water leakage, also catches the asbestos-cement chips, so this is essentially a dust-free operation. To minimize fouling of valves, regulators, meters, and other equipment with chips or unnecessary addition of asbestos to drinking water a positive purge or blow-off features should be used on the equipment.  (NOTE: There will be no dry AC pipe tapping as only non-A.C pipe is used for new installation or repair). Bolts for all fittings and sleeves should be placed so the nuts are on the non-asbestos side of the pipe, which prevents the AC pipe from being, rubbed by the wrenching and tightening of the bolts.

        - Bristle Brush to smooth cutting surface may be used only with copious water spray to suppress any dust.

        - Use of Cold Chisel and Hammer to remove coupling from AC pipe:  When possible, the intact section would be removed not requiring a coupler to be removed but this is not always possible.   AC coupling removal must be done by gradually splitting the coupling lengthwise using a chisel and hammer.  After the coupler has been split a crowbar or similar tool is used as a lever to split the bottom of the coupling.  The pieces must be bagged in asbestos disposal bag(s).

There are varieties of other fittings that are used to insert the ductile iron pipe, including various pressure collars, which do not result in damage to the AC pipe.

        - Safety Equipment: The AC pipe safety equipment will be available from the NAME STORAGE PLACE before heading to the AC pipe work site. The equipment must include a laminated copy of this SOP, gloves, safety glasses, ear plugs, appropriate polypropylene suits,  towels, hand cleaner, yellow disposal bags, clear disposal bags, duct tape, flash light, warning signs and barrier tape.

          - Required Personal Protective Equipment:

            - Employee personal protective clothing: To further safeguard our employees’ the following PPE is required:

- Polypropylene or disposable coveralls appropriate for the hazard

- Rubber boots

- Gloves with plastic cover hands and canvas back will be worn when working with AC pipe

- Safety Glasses

- While testing has shown that proper procedures do not result in any detectable fiber exposure employees have the option of wearing the N-100 disposable dust masks. Since exposure to asbestos occurs primarily through inhalation, the use of respiratory protection is strongly recommended.

NOTE: The use of disposable dust masks (N-100) is NOT an acceptable practice under the OR-OSHA Asbestos Standard (1926.1101).  Air-purifying respirators equipped with N-100 cartridges are acceptable.  While these procedures recognize airborne exposure to asbestos fibers from non-friable asbestos cement pipe would not pose a hazard, a best practice is to avoid using disposable dust masks (filtering facepieces) and to use air-purifying respiratory protection, even for voluntary use.

- The rubber gloves will have the tops rolled out 1 – 1 ½” to form a cuff that can catch drips, etc. that might normally land on a body part.

- The coveralls will be secured and sealed to the ankles and wrists by applying duct tape at the cuffs if necessary.

# Establish a “Controlled Zone”

    - A “Controlled Zone” will be established for all work involving AC pipe. The following are guidelines for establishing and maintaining a “Controlled Zone”.

- Establish a perimeter 5 – 10 feet back from the leading edge of any excavation, hole or trench.

- Set cones or barricades strategically around the perimeter.

- Thread “Danger Tape” around the perimeter and attached to the cones or barricades.

- Set the “Authorized Personnel Only” signs around the outside of the “Controlled Zone”.

- Only authorized and properly outfitted personnel may enter the “Controlled Zone”.

- Any person and any equipment leaving the “Controlled Zone” must be subjected to decontamination as defined further in this document.

  - Disposal and Decontamination procedures

- The Snap or Roll Cutter tool should be cleaned prior to use to reduce asbestos cement debris which could build-up on the blades during cutting

- All removed AC pipe and debris will be wetted down, collected, and placed in asbestos disposal bags.  They will be taken to the asbestos disposal area at the main shop.

- All tools that have been used to remove AC pipe must be wiped clean of debris with disposable cloths while still inside the “Controlled Zone”.  The cloths will be placed in Asbestos disposal bags and the bags will be sealed as defined above

- The disposable coveralls and rubber gloves will be placed into the asbestos disposal bag while the workers are still inside the “Controlled Zone”.

- Rubber boots must be washed off removing dirt and debris while in the excavation with the garden sprayer.

- Proper bagging will consist of placing the AC pipe and debris in a yellow hazardous waste bag and duct taping the top of the bag to seal it. The yellow bag will then be placed inside a clear disposal bag to ensure double-bagging can be verified. The 2nd bag must also have the top sealed with duct tape to ensure a seal.

- Waterless hand cleaners and water will be available for employee’s hand and face cleaning after removing the Personal Protective Equipment.

- Once wiped clean, clean Snap or Roll Cutter and all other tools used at the shop and restocked on the crew vehicles.

## Periodic Air Re-monitoring

If there are needed changes to work procedures or the condition of AC pipe is friable and unstable, work must cease immediately and all provisions of 1926.1101 apply.  A Competent Person as defined by the Asbestos Standard

must re-evaluate the situation to determine what actions are necessary, including air monitoring, respiratory protection, training, or any other required actions.

Re-monitoring will be done when the Competent Person has reason to believe that there has been a change in the operation, which could affect airborne exposure.

## Safe Work Procedure Checklist

The Supervisor and crew mechanic will use, follow and document safe work procedures on a checklist (attached). Notification to the Safety Office so that Key Performance Indicators can be verified.

  - Identifying potential AC pipe work needs prior to job site work.  This allows crew to ensure they have right equipment and procedures for working on AC pipe.

  - Ensuring that crew has been asbestos awareness trained

  - Assembling basic protective equipment and tools, which is in good repair and clean:

- Disposable coveralls

- Rubber boots

- Rubber gloves

- Safety glasses

- Proper working order and clean tools including Snap or Roll cutters wiped before and after use to reduce and remove any fibers that may be on the cutters.

- Ensure all clean tools are available

- Assembling Control Equipment

  - Garden sprayer with adequate supply of water

  - Large wipes for cleaning tools and equipment

  - Asbestos Disposable Bags and duct tape

  - Waterless hand cleaners

  - Warning signs

  - Barrier tape

##### DOCUMENTATION:

All training, refresher sessions, checklists and annual reviews or audits will be documented. Documentation will be filed with the ENTITY NAME Safety File system.

- KEY PERFORMANCE INDICATORS:

  - Documentation of training, checklists and audits or reviews.

  - Field audits during actual operations.

    - AUDITS AND REVIEWS

      - Field audits by the safety office or the supervisor will be conducted as opportunities present themselves using the utilizing the established jobsite inspection program.

      - Conduct SOP reviews whenever there is reason to believe or field audits indicate that there is a need to review and/or revise this SOP because of observed deviations and violations of this SOP.

      - Supervisors and safety staff are readily available to address employee concerns, questions, and/or assist with work activities

        - ATTACHMENTS

Safe Work Procedure Checklist

SAFE WORK PROCEDURE CHECKLIST

The crew mechanic or the district supervisor will ensure this checklist is reviewed and completed before any work involving AC pipe commences. This checklist must be fully completed, signed and dated. The completed checklist will be forwarded to the ENTITY NAME Risk Specialist.

Training

- All crew members have been trained to the SOP for AC pipe work.    Yes    No

Equipment

Roll cutters or similar tool	 			  Waterless hand cleaners

Garden sprayer with adequate supply of   	  Large wipes for cleaning tools and

water						       and equipment

Asbestos Disposal Bags and duct tape		  Asbestos warning signs

(yellow and clear bags)

Asbestos barrier tape				  Hooded Tyvek disposable coveralls

Rubber boots 					  Laminated SOP

Rubber gloves					  Safety glasses

N100 filtering face pieces 	  Pipe, collars, specific tools etc. required for       the repair

By my signature, I verify that all the items above are on site or have been reviewed or verified.

###### Crew mechanic or supervisor __________________________________________

print name

Address or site of work:  _______________________________________________________

Date work conducted:  _______________