Assessment Criteria and Care Plan for Safe Patient Handling and Movement

I.	Patient’s Level of Assistance:

_____ Independent—	Patient performs task safely, with or without staff assistance, with or without assistive devices.

_____ Partial Assist—Patient requires no more help than standby, cueing, or coaxing, or caregiver is required to lift no more than 35 lbs of

a patient’s weight.

_____ Dependent—Patient requires nurse to lift more than 35 lbs of the patient’s weight, or patient is unpredictable in the amount of assistance

offered. In this case assistive devices should be used.

An assessment should be made prior to each task if the patient has varying level of ability to assist due to medical reasons, fatigue, medications, etc.  When in doubt, assume the patient cannot assist with the transfer/repositioning.

II.	Weight-Bearing Capability 		III.   Bilateral Upper-Extremity Strength

_____ Full						_____ Yes

_____ Partial					_____ No

_____ None

IV.	Patient’s level of cooperation and comprehension:

_____ Cooperative—may need prompting; able to follow simple commands.

_____ Unpredictable or varies (patient whose behavior changes frequently should be considered as unpredictable), not cooperative, or

unable to follow simple commands.

V.	Weight: _________	 Height: ___________

Body Mass Index (BMI)  [needed if patient’s weight is over 300 lbs]¹:___________

If BMI exceeds 50, institute Bariatric Algorithms

The presence of the following conditions are likely to affect the transfer/repositioning process and should be considered when identifying equipment and technique needed to move the patient.

VI.	Check applicable conditions likely to affect transfer/repositioning techniques.

_____ Hip/Knee/Shoulder Replacements	_____ Respiratory/Cardiac Compromise		_____ Fractures

_____ History of Falls				_____ Wounds Affecting Transfer/Positioning	_____ Splints/Traction

_____ Paralysis/Paresis				_____ Amputation				_____ Severe Osteoporosis

_____ Unstable Spine					_____ Urinary/Fecal Stoma			_____ Severe Pain/Discomfort

_____ Severe Edema					_____ Contractures/Spasms			_____ Postural Hypotension

_____ Very Fragile Skin				_____ Tubes (IV, Chest, etc.)

Comments:_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

VII. Appropriate Lift/Transfer Devices Needed:

Vertical Lift:

Horizontal Lift:

Other Patient Handling Devices Needed:

Sling Type: Seated_____   Seated (Amputee)_____   Standing_____   Supine_____   Ambulation_____   Limb Support_____

Sling Size: _____________

Signature: _______________________________________________	Date: _________________

___________________________________________________________

¹If patient’s weight is over 300 lbs, the BMI is needed.  For Online BMI table and calculator see: http://www.nhlbi.nih.gov/guidelines/obesity/bmi_tbl.htm

Orthopaedic Clinical Tool #1: Lifting and Holding Legs or Arms in an Orthopaedic Setting

Introduction

Often when orthopaedic care is being provided, the care giver must lift and/or hold a limb in place while some type of treatment is being provided, such as cast application. It is assumed that you are maintaining a neutral (upright) body posture (not fully flexed); adjust the height of the table. When a caregiver must lift a leg or arm, it is important to make sure that the weight of the limb being lifted does not exceed the strength capability of the caregiver.  An ergonomic tool has been developed to assist caregivers in determining whether a specific lift and/or hold of a limb is acceptable and whether some type of lift or hold assist device is needed.  For lifts of limbs with casts, an alternate method is presented for assessing whether the lift is acceptable or not as presented in Table #1.

This tool shows the calculation of the average weight for an adult patient’s leg and arm as a function of whole body mass, ranging from slim to morbidly obese body type.  Weights are presented both in pounds (lbs.) and metric (kg.) units. Maximum lift and hold loads were calculated based on 75th percentile shoulder flexion strength and endurance capability for US adult females, where the maximum weight for a one-handed lift is 11.1 lbs. and a two-handed lift, 22.2lbs.

Table 1. Ergonomic Tool: Lifting and Holding Legs or Arms in an Orthopaedic Setting*

| Patient Weight lbs. (kg.) | Body Part | Body Part Weight Lbs. (kg.) |  | Lift 1- hand | Lift 2- hand | Hold 2-hand 1 min. | Hold 2-hand 2 min. | Hold 2-hand 3 min. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| <40 lbs. | Leg | <6.3 lbs. | (3 kg.) |  |  |  |  |  |
| (< 18 kg.) | Arm | <2.0 lbs. | (1 kg.) |  |  |  |  |  |
| 40-90 lbs. | Leg | <14.1 lbs . | (6 kg.) |  |  |  |  |  |
| (18-41 kg.) | Arm | <4.6 lbs. | (2 kg.) |  |  |  |  |  |
| 90-140 lbs. | Leg | <22.0 lbs. | (10 kg.) |  |  |  |  |  |
| (41-64 kg.) | Arm | <7.1 lbs. | (3 kg.) |  |  |  |  |  |
| 140-190 lbs. | Leg | <29.8 lbs. | (14 kg.) |  |  |  |  |  |
| (64-86 kg.) | Arm | <9.7 lbs. | (4 kg.) |  |  |  |  |  |
| 190-240 lbs. | Leg | <37.7 lbs. | (17 kg.) |  |  |  |  |  |
| (86-109 kg.) | Arm | <12.2 lbs. | (6 kg.) |  |  |  |  |  |
| 240-290 lbs. | Leg | <45.5 lbs. | (21 kg.) |  |  |  |  |  |
| (109-132 kg.) | Arm | <14.8 lbs. | (7 kg.) |  |  |  |  |  |
| 290-340 lbs. | Leg | <53.4 lbs. | (24 kg.) |  |  |  |  |  |
| (132-155 kg.) | Arm | <17.3 lbs. | (8 kg.) |  |  |  |  |  |
| 340-390 lbs. | Leg | <61.2 lbs. | (28 kg.) |  |  |  |  |  |
| (155-177 kg.) | Arm | <19.9 lbs. | (9 kg.) |  |  |  |  |  |
| 390-440 lbs. | Leg | <69.1 lbs. | (31 kg.) |  |  |  |  |  |
| (177-200 kg.) | Arm | <22.2 lbs. | (10 kg.) |  |  |  |  |  |
| > 440 lbs. | Leg | >69.1 lbs. | (31 kg.) |  |  |  |  |  |
| (>200 kg.) | Arm | >22.2 lbs. | (10 kg.) |  |  |  |  |  |
| * No shading: Lift and hold is appropriate but use clinical judgment and do not hold longer than noted. Heavy shading: Do not lift alone; use assistive device or more than one caregiver. |  |  |  |  |  |  |  |  |

The shaded areas of the table indicate whether it would be acceptable for one caregiver to lift the listed body parts with one or two hands or hold the respective body parts for 1, 2, or 3 minutes with two hands. Respecting these limits will minimize risk of muscle fatigue and the potential for musculoskeletal disorders. If the limb weight exceeds the values listed in the table it is recommended to use assistive technology, such as a ceiling lift or floor based lift with a limb support sling. Orthopaedic caregivers must use clinical judgment to assess the need for additional staff member assistance or assistive devices to lift and/or hold one of these body parts for a particular period of time.

Note: It is important to remember that the chart shows the acceptable weights for limbs without a cast in place. If the caregiver is lifting a limb with a cast, the additional weight of the cast should be added to the weight of the limb to determine whether the lift is acceptable.  An alternate method is provided below for limbs with casts. These are guidelines for the average weight of the leg and arm, and are based upon the patient’s weight. The maximum weight for a 1-handed lift is 11.1 lbs. and a 2-handed lift, 22.2 lbs.

Patient weight is divided into weight categories (see Table 1), ranging from very light to morbidly obese. Normalized weight for each leg and each arm are calculated as a percentage of body weight where each complete arm weighs 5.1% of total body mass and each leg weighs 15.7% of total body mass (Chaffin, Anderson, & Martin, 1999).   All weights are presented in both pounds and kilograms, rounded to the nearest whole unit.

To accommodate 75% of the US adult female working population, maximum load for a 1-handed lift is calculated to be 11.1 lbs. (5.0 kg.). This is determined by calculating the strength capabilities for 25th percentile US adult female maximum shoulder flexion movement (the mean equals 40 Newton meters, standard deviation equals 13 Nm) (Chaffin, Anderson, & Martin, 1999) and 75th percentile US adult female shoulder to grip length (the mean equals 610 mm, the standard deviation equals 30 mm) (Pheasant, 1992). Maximum loads for one person for a 2-handed lift (i.e., 22.2 lbs. /10.1 kg.) are calculated as twice that of a 1-handed lift. Muscle strength capabilities diminish as a function of time, therefore, maximum loads for 2-handed holding of body parts are presented for 1, 2, and 3 minute durations.  After 1 minute, muscle endurance has decreased by 48%, decreased by 65% after 2 minutes, and, after 3 minutes of continuous holding, strength capability is only 29% of initial lifting strength (Rohmert, 1973, a, b). If the limits in ergonomic Table 1 are exceeded, additional staff members or assistive limb holders should be used.

References

Chaffin, D. B., Anderson, G.B.J., & Martin, B.J. (1999). Occupational biomechanics (3rd ed.). New York, NY: J. Wiley & Sons

Pheasant, S. (1992). Bodyspace. Taylor & Francis, Ltd: London.

#### Rohmert,W. (1973a). Problems of determination of rest allowances. Part 1: Use of modern methods to evaluate stress and strain in static muscular work. Applied Ergonomics, 4(2), 91-95.

#### Rohmert,W. (1973b) Problems of determination of rest allowances. Part 2: Determining rest allowances in different human tasks. Applied Ergonomics, 4(3), 158-162.

Waters, T. (2007). When is it safe to manually lift a patient?  American Journal of Nursing, 107(8), 53–59.

Orthopaedic Clinical Tool #2: Alternate Method for Determining Safe Lifting and Holding of Limbs with Casts

Table 2.1. Predicted Weight for Different Types of Casts

| Limb | Limb Weight Factor | 1-hand | 2-hands | 2-hands 1 min. | 2-hands 2 min. | 2-hands 3 min. |
| --- | --- | --- | --- | --- | --- | --- |
| Leg | 0.157 | 11.1 lbs. (5.1 kg.) | 22.2 lbs. (10.2 kg.) | 11.6 lbs. (5.3 kg.) | 7.8 lbs. (3.5 kg.) | 6.4 lbs. (2.9 kg.) |
| Arm | 0.051 |  |  |  |  |  |

Multiply the patients’ weight times the limb factor (0.157 for leg and 0.051 for arm) and add the weight of the cast.  Compare the calculated weight to the value in the appropriate task box. If the total limb weight exceeds the weight in the appropriate box, then the caregiver should not manually lift the limb alone, but should use an assistive device or more than one caregiver to perform the lift.  On the other hand, if the calculated weight is less than the value in the appropriate box, then it is acceptable to manually lift and hold the limb and the caregiver should use clinical judgment and not hold longer than noted.

For example if the patient weighs 200 lbs. and has an arm cast weighing 5 lbs., then the total arm weight would be 200 lbs. x 0.051 plus 5 lbs., or 15.2 lbs. In this case, the arm should not be lifted with one hand (i.e., 15.2 lbs. > 11.1 lbs.) but could be lifted with two hands (i.e., 15.2 lbs. < 22.2 lbs.), but not held in that position less than a few seconds (15.2 lbs. > 11.6 lbs.).  Similarly, if the patient weighs 75 lbs. and has a 5 lb. leg cast, then the total limb weight would be 75 lbs. x 0.157 plus 5 lbs., or 16.8 lbs. In this case, it would not be acceptable to lift the limb with one hand (i.e., 16.8 lbs. > 11.1 lbs.), but it would be acceptable to lift it with two hands (i.e., 16.8 lbs. < 22.1 lbs.), but should not be held more than a few seconds (16.8 lbs. > 11.6 lbs.).

Table 2.2. Predicted Weights for a Fiberglass Cast

The following Table 2.2 provides some predicted weights for a fiberglass cast.

| Short Arm Cast (adult) | Long Arm Cast (adult) | Short Leg Walking Cast (150 lbs. adult) | Long Leg Cast (150 lbs. adult) | Infant Body Spica 20-30 lbs. | Child Body Spica 3-5 yr old 30-50 lbs. |
| --- | --- | --- | --- | --- | --- |
| 0.5 lbs. | 1 lbs. | 2 lbs. | 3.0 lbs. | 2 lbs. | 4lbs. |
| 2 rolls 3” | 1 roll 2” 3 rolls 3” | 4 rolls 4” | 3 rolls 3” 3 rolls 4” | 2 rolls 2” 3 rolls 3” | 5 rolls 3” 5 rolls 4” |
| + webril* | + webril* | + webril* | + webril* | + webril* | + webril* |

*Weight of webril is 0.25 lb. per packet

Notes to Algorithms and Clinical Tools for Safe Patient Handling in an Orthopaedic Setting: Helpful Hints

Selection of the appropriate sling accessory for movement / lift /transfer, must include the following considerations:

- Decision to transfer pt. in sitting vs. supine position – choose correct functionality of the sling

- Select appropriate size

- Maintain alignment of the affected body part(s) according to pre-op/ post-op guidelines

  - Consider the patient’s body size, shape and features (e.g. very Large abdominal girth can limit degree of  hip flexion )

  - Features of sling –

    - consider where material covers patient.

    - strap options for seated slings-the length of material for strap supports of the lower extremities can often be modified by selecting differing loop attachment points of the sling onto the hanger bar ( e.g. providing more material length will allow lower extremity to be in less flexed  position)

    - seated slings back  height  can vary from supporting whole trunk and head to covering pelvis/waist only. When upper extremities are involved, consider height of the sling – high back slings will wrap around and enclose an upper extremity, while a low back sling will allow upper extremity to be free

- If alignment / positioning guidelines can not be met with sling accessory available, transfer pt in supine with sheet style sling or anti-friction methods, then sit upright

- The “Patient Care Sling Selection and Usage Toolkit” is available for download at: http://www.visn8.va.gov/patientsafetycenter/safePtHandling/toolkitSlings.asp

Ergonomic Tool #3:  Lifting and Holding Legs, Arms, and Heads for Prepping in a Perioperative Setting

Key

| No shading | OK to lift and hold, use clinical judgment, do not hold longer than noted |
| --- | --- |
| Heavy shading | Do not lift alone, use assistive device or more than one caregiver |

| Patient Weight lbs (kg) | Body | Body Part |  | Lift | Lift | Hold | Hold | Hold |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Part | Weight |  | 1- hand | 2- hand | 2-hand | 2-hand | 2-hand |
|  |  | lbs (kg) |  |  |  | <1 min | <2 min | <3 min |
| <120 lbs | Leg | <19 lbs | (9 kg) |  |  |  |  |  |
| (< 54 kg) | Arm | <6 lbs | (3 kg) |  |  |  |  |  |
|  | Head | <10 lbs | (5 kg) |  |  |  |  |  |
| 120-160 lbs | Leg | <25 lbs | (11 kg) |  |  |  |  |  |
| (54-73 kg) | Arm | <8 lbs | (4 kg) |  |  |  |  |  |
|  | Head | <13 lbs | (6 kg) |  |  |  |  |  |
| 160-200 lbs | Leg | <31 lbs | (14 kg) |  |  |  |  |  |
| (73-91 kg) | Arm | <10 lbs | (5 kg) |  |  |  |  |  |
|  | Head | <17 lbs | (8 kg) |  |  |  |  |  |
| 200-240 lbs | Leg | <38 lbs | (17 kg) |  |  |  |  |  |
| (91-109 kg) | Arm | <12 lbs | (6 kg) |  |  |  |  |  |
|  | Head | <20 lbs | (9 kg) |  |  |  |  |  |
| 240-280 lbs | Leg | <44 lbs | (20 kg) |  |  |  |  |  |
| (109-127 kg) | Arm | <14 lbs | (6 kg) |  |  |  |  |  |
|  | Head | <24 lbs | (11 kg) |  |  |  |  |  |
| 280-320 lbs | Leg | <50 lbs | (23 kg) |  |  |  |  |  |
| (127-145 kg) | Arm | <16 lbs | (7 kg) |  |  |  |  |  |
|  | Head | <27 lbs | (12 kg) |  |  |  |  |  |
| >360 lbs | Leg | >57 lbs | (26 kg) |  |  |  |  |  |
| (>163 kg) | Arm | >18 lbs | (8 kg) |  |  |  |  |  |
|  | Head | >30 lbs | (14 kg) |  |  |  |  |  |

Ergonomic Tool #5: Retraction (last updated Nov. 17, 2006)

Lifting and Carrying Supplies and Equipment

| Lifting Task | Lifting Index | Level of Risk |
| --- | --- | --- |
| 3,000 ml irrigation fluid | <0.2 |  |
| Sand bags | 0.3 |  |
| Linen bags | 0.4 |  |
| Lead aprons | 0.4 |  |
| Custom sterile packs (eg, heart or spine) | 0.5 |  |
| Garbage bags (full) | 0.7 |  |
| Positioning devices off shelf or rack (eg, stirrups) | 0.7 |  |
| Positioning devices off shelf or rack (eg, gel pads) | 0.9 |  |
| Hand table (49” x 28”)-largest hand table-used infrequently | 1.2 |  |
| Fluoroscopy Board (49” x 21”) | 1.2 |  |
| Stirrups (2- one in each hand) | 1.4 |  |
| Wilson frame | 1.4 |  |
| Irrigation containers for lithotripsy (12,000 ml) | 1.5 |  |
| Instrument pans | 2.0 |  |

Key

| No shading | Minimal risk – Safe to lift |
| --- | --- |
| Light shading | Potential risk – Use assistive technology, as available |
| Heavy shading | Considerable risk – one person should not perform alone or weight should be reduced. |

Note: Assistive devices include adjustable-height lift tables, rolling carts, two-wheeled carts, dollies, or mechanical transport devices.

Pushing, Pulling, and Moving Equipment on Wheels

| OR Equipment | Pushing Force lbF (kgF) |  | Max Push Distance ft / (m) |  | Ergonomic Recommendation |
| --- | --- | --- | --- | --- | --- |
| Electrosurgery unit | 8.4 lbF | (3.8 kgF) | >200ft | (60m) | Task is acceptable for 1 caregiver |
| Ultrasound | 12.4 lbF | (5.6 kgF) | >200ft | (60m) |  |
| X ray equipment portable | 12.9 lbF | (5.9 kgF) | >200ft | (60m) |  |
| Video towers | 14.1 lbF | (6.4 kgF) | >200ft | (60m) |  |
| Linen cart | 16.3 lbF | (7.4 kgF) | >200ft | (60m) |  |
| X ray equip – C-arm | 19.6 lbF | (8.9 kgF) | >200ft | (60m) |  |
| Case carts – empty | 24.2 lbF | (11.0 kgF) | >200ft | (60m) |  |
| OR stretcher unoccupied | 25.1 lbF | (11.4 kgF) | >200ft | (60m) |  |
| Case carts – full | 26.6 lbF | (12.1 kgF) | >200ft | (60m) |  |
| Microscopes | 27.5 lbF | (12.5 kgF) | >200ft | (60m) |  |
| Hospital bed – unoccupied | 29.8 lbF | (13.5 kgF) | >200ft | (60m) |  |
| Specialty equip carts | 39.3 lbF | (17.9 kgF) | >200ft | (60m) |  |
| OR stretcher - occupied 300 lbs | 43.8 lbF | (19.9 kgF) | >200ft | (60m) |  |
| Bed - occupied 300 lbs | 50.0 lbF | (22.7 kgF) | <200ft | (30m) | Min 2 caregivers required |
| Specialty OR beds unoccupied | 69.7 lbF | (31.7 kgF) | <100ft | (30m) |  |
| OR bed unoccupied | 61.3 lbF | (27.9 kgF) | <25ft | (7.5m) | Recommend powered transport device |
| OR bed occupied 300 lbs | 112.4 lbF | (51.1 kgF) | <25ft | (7.5 m) |  |
| Specialty OR beds - occupied 300 lbs | 124.2 lbF | (56.5 kg) | <25ft | (7.5 m) |  |

Key

| No shading | Minimal risk - Task is acceptable for 1 caregiver |
| --- | --- |
| Light shading | Moderate risk – Minimum of 2 caregivers or powered device recommended |
| Heavy shading | Considerable risk - Recommend powered transport device |